## Characteristics
PV Cell - Electrical Characteristics
I-U Characteristc of a solar cell
Boltzmann constant | 1.3807e-23
Elementary charge | 1.6022e-19
Light intensity | 1000 | W/m2
Active area | 1.4 | m2
Efficiency factor | 0.00085 | A / W
Diode Quality Factor | 1.1
Temperature | 25 | Degrees Celcius | 298 | Kelvin
Rp | 100 | Ohm
Rsj | 0.05 | Ohm
Reverse saturation | 0.004 | A
No of cells in string | 850
No of parallel cells | 1
Photon Current | 1.19 | A
Planck Constant | 6.6261e-34
Speed of light | 299792458 | m/s
Thermal voltage | 0.028248 | V
Cell Voltage | 3 | V |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
iterations | 1000 | for calculating I-U |  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
imax | 1.428 | for calculating I-U |  | 4 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 8 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
solar current | #VALUE! | Ampere |  | 12 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
power | #VALUE! | Watts |  | 16 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 20 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 24 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 28 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 32 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 36 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 40 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 44 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 48 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 52 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 56 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 60 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 64 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 68 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 72 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 76 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 80 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 84 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 88 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 92 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 96 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 100 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 104 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 108 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 112 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 116 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 120 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 124 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 128 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 132 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 136 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 140 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 144 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 148 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 152 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 156 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | 160 | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## BandGaps
Band Gaps
Semiconductor | Band Gap [eV] | Wavelength [nm] | Frequency [Hz] | Energy [J]
InSb | 0.16 | 7749.0195 | 3.8688e+13 | 2.5635e-20
InAs | 0.33 | 3757.1004 | 7.9794e+13 | 5.2872e-20
Ge | 0.67 | 1850.5121 | 162005130819895 | 1.0735e-19
GaSb | 0.67 | 1850.5121 | 162005130819895 | 1.0735e-19
Si | 1.14 | 1087.5817 | 275650521096537 | 1.8265e-19
InP | 1.29 | 961.1187 | 311920326503977 | 2.0668e-19
GaAs | 1.39 | 891.9735 | 336100196775603 | 2.227e-19
GaAsAl | 2.05 | 604.8015 | 495687340568335 | 3.2845e-19
wavelength | 7e-07
Frequency | 428274940000000
Photon energy | 2.8378e-19
Energy equivalent | 1.7712 | eV
Band gap | 0.5 | eV
Photon Energy | 8.0109e-20 | J
Photon Frequency | 120899351358130 | Hz
Wavelength | 2479.6862 | nm

## SpectralSensitivity
Spectral Sensitivity
| Si |  | GaAs |  | Human Eye |  | GaAsAl |  | a-Si
| 350 | 0 | 350 | 0 | 380 | 0 | 350 | 0 | 350 | 44.1558 | 0.34
| 400 | 5 | 400 | 5 | 400 | 5 | 380 | 20 | 400 | 62.3377 | 0.48
| 450 | 20 | 450 | 20 | 480 | 17 | 410 | 30 | 450 | 79.2208 | 0.61
| 500 | 36 | 500 | 34 | 500 | 38 | 450 | 70 | 500 | 92.2078 | 0.71
| 550 | 50 | 600 | 58 | 550 | 89 | 500 | 90 | 550 | 100 | 0.77
| 600 | 66 | 700 | 80 | 565 | 100 | 550 | 95 | 600 | 97.4026 | 0.75
| 650 | 78 | 750 | 88 | 600 | 80 | 600 | 100 | 650 | 84.4156 | 0.65
| 700 | 87 | 800 | 96 | 650 | 42 | 720 | 96 | 700 | 45.4545 | 0.35
| 750 | 95 | 830 | 100 | 700 | 17 | 830 | 80 | 750 | 7.7922 | 0.06
| 800 | 98 | 880 | 92 | 750 | 0 | 900 | 0 | 800 | 2.5974 | 0.02
| 850 | 100 | 900 | 75 |  |  |  |  | 850 | 0 | 0
| 900 | 98 | 960 | 0
| 950 | 92
| 1000 | 68
| 1050 | 20
| 1088 | 0